VII Semester B. Pharm Degree Examination – 10-Nov-2021

# Time: Three Hours 						       		    Max. Marks: 75 Marks

#### INSTRUMENTAL METHODS OF ANALYSIS

### Q.P. CODE: 5029

Your answers should be specific to the questions asked

Draw neat labeled diagrams wherever necessary

All the Questions are compulsory

| LONG ESSAYS | 2 x 10 = 20 Marks |
| --- | --- |
| 1. | Explain in brief about monochromators and any two detectors used in UV spectroscopy. OR Explain the principle, instrumentation, sampling techniques and applications of IR spectroscopy. |
| 2. | Describe Gas Chromatograph with a neat labelled diagram. Explain the type of GC columns, carrier gases and detectors used. |

| SHORT ESSAYS | 7 x 5 = 35 Marks |
| --- | --- |
| 3. | Discuss the working principle and construction of spectro fluorimeter. OR Explain the multiple component analysis of drugs by UV spectroscopy. |
| 4. | What are Nephelometry and turbidometry? Write principle involved for the same. OR Enlist and explain the various development techniques in paper chromatography. |
| 5. | Explain the separation techniques involved in column chromatography. |
| 6. | Give an account of gel electrophoresis with representation of neat diagram. |
| 7. | Explain about the various detectors used in HPLC. |
| 8. | Define and classify ion exchange resins and explain the manufacture of cation exchange resin and anion exchange resin. |
| 9. | Explain the principle, theory and applications of gel chromatography. |

| SHORT ANSWERS | 10 x 2 = 20 Marks |
| --- | --- |
| 10. | Define Absorptivity and Transmittance. |
| 11. | What is Quenching? Give example. |
| 12. | What are the events that occur when the compound of a metal to be investigated is aspirated into a flame? |
| 13. | Define a) Functional group region b) Finger print region. |
| 14. | Write the formula used to calculate number of fundamental vibration for Linear and Nonlinear molecules. |
| 15. | Write the difference between normal phase and reverse phase chromatography. |
| 16. | Write the difference of silica gel, Silica gel G, silica gel GF. |
| 17. | What is derivatization? Mention the various methods of derivatization in gas chromatography. |
| 18. | Write the difference between gel chromatography and affinity chromatography. |
| 19. | Importance of ligand in affinity chromatography. |

******