VII Semester B. Pharm Degree Examination – 18-Jun-2022

# Time: Three Hours 						       		    Max. Marks: 75 Marks

#### INSTRUMENTAL METHODS OF ANALYSIS

### Q.P. CODE: 5029

Your answers should be specific to the questions asked

Draw neat labeled diagrams wherever necessary

All the Questions are compulsory

| LONG ESSAYS | 2 x 10 = 20 Marks |
| --- | --- |
| 1. | Discuss in detail the concept of EMR, energies in organic molecule and electronic transitions in UV-visible spectroscopy. OR Draw a neat labelled diagram of IR spectrometer and explain the sample handling techniques in IR. |
| 2. | Explain the instrumentation of HPLC. |

| SHORT ESSAYS | 7 x 5 = 35 Marks |
| --- | --- |
| 3. | Write a note on solvent effects in UV spectroscopy. OR Discuss the factors affecting fluorescence. |
| 4. | Explain the steps involved in Flame photometry. OR Define and explain the factors affecting electrophoresis. |
| 5. | Discuss the development and visualisation techniques in paper chromatography. |
| 6. | Explain the various steps involved in separation of samples by column chromatography. |
| 7. | Write the construction and working of any two GC detectors. |
| 8. | Classify and explain the mechanism of separation of ion exchangers in ion exchange chromatography. |
| 9. | Add a detail note on gel chromatography. |

| SHORT ANSWERS | 10 x 2 = 20 Marks |
| --- | --- |
| 10. | Define the terms absorptivity and auxochromes. |
| 11. | Write the difference between fluorescence and phosphorescence. |
| 12. | What are the functional groups absorbing the wave number 3400cm-1 and 1715cm-1? |
| 13. | Write the difference between nephelo and turbidometry. |
| 14. | Define the term retention time & retention volume. |
| 15. | Differentiate between normal and reverse phase chromatography. |
| 16. | Write the difference between resolution and separation factor. |
| 17. | Explain any one derivatisation technique in GC. |
| 18. | Application of ion exchange chromatography. |
| 19. | What stationary phase is used in affinity chromatography? |

******