Sixth Semester B. Pharm Degree Examination – 30-Nov-2022

# Time: Three Hours 						        Max. Marks: 75 Marks

#### Pharmaceutical Quality Assurance

### Q.P. CODE: 5028

Your answers should be specific to the questions asked.

Draw neat labeled diagrams wherever necessary.

All the Questions are compulsory.

| LONG ESSAYS | 2 x 10 = 20 Marks |
| --- | --- |
| 1. | Discuss in detail the principles of TQM. OR Explain the facility requirements for maintenance of sterile manufacturing area. |
| 2. | Discuss the importance of Good Laboratory Practices. Explain briefly the protocol content of non-clinical laboratory study. |

| SHORT ESSAYS | 7 x 5 = 35 Marks |
| --- | --- |
| 3. | Explain the concept of QA and QC. OR Enlist ICH Q-series guidelines and explain any one in detail. |
| 4. | Describe the criteria for equipment selection in pharmaceutical industry. OR How is cross contamination is prevented in dispensing unit? |
| 5. | Write the reasons for disqualification of testing facilities. |
| 6. | Describe the procedure for handling of return goods. |
| 7. | Write a short note on quality audit and quality review. |
| 8. | Explain the procedure for qualification of pH meter. |
| 9. | Describe the principle of analytical method validation. |

| SHORT ANSWERS | 10 x 2 = 20 Marks |
| --- | --- |
| 10. | Define QbD. |
| 11. | Enlist the benefits of ISO 14000. |
| 12. | Name any four Deming’s principles of quality management. |
| 13. | List out the steps involved in the purchase of raw materials? |
| 14. | What are the personnel requirements as per GLP? |
| 15. | Explain the role of SOP in manufacturing unit. |
| 16. | What is Master formula record? |
| 17. | What is FIFO and LIFO? |
| 18. | Name any two parameters for qualification of UV-visible spectrophotometer. |
| 19. | Write the importance of calibration. |

******