VII Semester B. Pharm Degree Examination – 15-Nov-2022

# Time: Three Hours 						       		    Max. Marks: 75 Marks

#### INSTRUMENTAL METHODS OF ANALYSIS

### Q.P. CODE: 5029

Your answers should be specific to the questions asked

Draw neat labeled diagrams wherever necessary

All the Questions are compulsory

| LONG ESSAYS |  | 2 x 10 = 20 Marks |
| --- | --- | --- |
| 1. | Explain the principle, instrumentation and applications of UV-Visible spectroscopy. OR What are the different vibrational modes of polyatomic molecules upon IR absorption? Write in brief on the various detectors used in IR Spectroscopy. |  |
| 2. | Describe the principle, instrumentation and applications of HPLC. |  |

| SHORT ESSAYS |  | 7 x 5 = 35 Marks |
| --- | --- | --- |
| 3. | Write the statement and derive the equation for Beer‘s – Lambert’s law. OR Explain in brief the effect of solvent on absorption UV-Visible radiation by the molecules. |  |
| 4. | Explain the instrumentation and working of flame emission spectrometry. OR Explain the various methods of preparation of TLC plates. |  |
| 5. | Briefly explain the operational techniques of column chromatography. |  |
| 6. | Add a note on gel electrophoresis. |  |
| 7. | Explain the concept of plate theory and rate theory for increasing the efficiency of column in chromatography. |  |
| 8. | What are ion exchange resins and explain the operational techniques of ion exchange chromatography. |  |
| 9. | Write the practical steps involved in size exclusion chromatography gel chromatography. |  |

| SHORT ANSWERS |  | 10 x 2 = 20 Marks |
| --- | --- | --- |
| 10. | Define Fluorescence and Phosphorescence. |  |
| 11. | Write the importance of color wheel. |  |
| 12. | Write the vibrational frequency of alcohol, aldehyde and amide in IR spectrum |  |
| 13. | Write the block diagram of Nephelometry. |  |
| 14. | Enlist different types of interferences in flame photometry? |  |
| 15. | Define Rf and Rm value. |  |
| 16. | What is electrophoresis? |  |
| 17. | What is programmed temperature in gas chromatography? Write its importance |  |
| 18. | Give the example for anion and cation exchange resins. |  |
| 19. | Write the principle of affinity chromatography. |  |

******