III Year Pharm-D Degree Examination NOV 2016

# Time: Three Hours 						       		       Max. Marks: 70 Marks

#### pharmaceutical Analysis

### Q.P. CODE: 2862

Your answers should be specific to the questions asked

Draw neat labeled diagrams wherever necessary

| LONG ESSAYS (Answer any Two) |  | 2 x 10 = 20 Marks |
| --- | --- | --- |
| 1. | Define and derive Beer’s Lambert law. Write a note on limitation of this law. |  |
| 2. | Describe the instrumentation and applications of HPLC in detail. |  |
| 3 | Explain a) The theory of conductometry. b) Different types of conductometric titrations c) Applications of conductometry. (3+5+2 = 10 marks) |  |

| SHORT ESSAYS (Answer any Six) |  | 6 x 5 = 30 Marks |
| --- | --- | --- |
| 4. | Explain the different sampling techniques used in IR spectroscopy. |  |
| 5. | Explain the construction and working of glass electrode. |  |
| 6. | Explain different ion exchange resins with examples used in ion exchange chromatography. |  |
| 7. | Explain the principle and application of gel filtration. |  |
| 8. | What is fluorescence and phosphorescence? Explain the concept of fluorescence through energy level diagram. |  |
| 9. | Classify the detectors used in gas chromatography and explain flame ionization detector in detail. |  |
| 10. | Explain the nebulisation technique in flame photometry. |  |
| 11. | Describe the various development techniques used in paper chromatography. |  |

| SHORT ANSWERS |  | 10 x 2 = 20 Marks |
| --- | --- | --- |
| 12. | Define Bathochromic shift and hypsochromic shift. |  |
| 13. | Application of Potentiometry. |  |
| 14. | Note on Paper Electrophoresis. |  |
| 15. | List out radiation sources used in IR spectroscopy. |  |
| 16. | Applications of HPTLC |  |
| 17. | List out the various adsorbents used in TLC. |  |
| 18. | Define and classify quenching. |  |
| 19. | What is guard column? Mention its significance. |  |
| 20. | Name two fluorescent indicators. |  |
| 21. | Define validation as per ICH guidelines. |  |

*****